## Sheet1
NOTE: Computer clock time is 1 hour off (i.e. 2PM = 3PM)
Software Version | 3.15.15 | [8 empty] | At 4:37 PM, the dish has been incubating for 1 h 17 min
Experiment File Path: | C:\Users\MMBL\Documents\BORG\Ashlee\resinBiocompatibility\asl_20240402_resin_72h_followUp.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\resinBiocompatibility_livedead_20240402.prt
Plate Number | 1
Date | 2024-04-02
Time | 14:56 | 35 min
Reader Type (Plate 1): | Synergy H1
Reader Serial Number (Plate 1): | 2302071A
Reading Type | Reader
Plate Number | 2
Date | 2024-04-02
Time | 15:19 | 58 min
Reader Type (Plate 2): | Synergy H1
Reader Serial Number (Plate 2): | 2302071A
Reading Type | Reader
Plate Number | 3
Date | 2024-04-02
Time | 15:24 | 1h 3 min
Reader Type (Plate 3): | Synergy H1
Reader Serial Number (Plate 3): | 2302071A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | cal/txrd
Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485, Emission: 526
Optics: Bottom, Gain: extended
Filter Set 2
Excitation: 584, Emission: 625
Optics: Bottom, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
Plate 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | BKEthD | BKEthD | BKEthD | BKCal | BKCal | BKCal | PEthD | PEthD | PEthD | PCal | PCal | PCal | Well ID
| B | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | BLK | BLK | BLK | BLK | BLK | BLK | Well ID
| C | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | DyeOnly | DyeOnly | DyeOnly | DyeOnly | DyeOnly | DyeOnly | Well ID
| D | SPL1 | SPL1 | SPL1 | SPL1 | SPL1 | SPL1 | SPL3 | SPL3 | SPL3 | SPL3 | SPL3 | SPL3 | Well ID
| E | SPL2 | SPL2 | SPL2 | SPL2 | SPL2 | SPL2 | SPL4 | SPL4 | SPL4 | SPL4 |  |  | Well ID
| F | SPL5 | SPL5 | SPL5 | SPL5 | SPL5 |  | SPL6 | SPL6 | SPL6 | SPL6 | SPL6 |  | Well ID
| G | SPL7 | SPL7 | SPL7 | SPL7 |  |  | SPL8 | SPL8 | SPL8 | SPL8 | SPL8 |  | Well ID
| H | 1: SPL9; 2: SPL9; 3: SPL9; 4: SPL9 | Well ID
Plate 2
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | BKEthD | BKEthD | BKEthD | BKCal | BKCal | BKCal | PEthD | PEthD | PEthD | PCal | PCal | PCal | Well ID
| B | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | BLK | BLK | BLK | BLK | BLK | BLK | Well ID
| C | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | DyeOnly | DyeOnly | DyeOnly | DyeOnly | DyeOnly | DyeOnly | Well ID
| D | SPL1 | SPL1 | SPL1 | SPL1 | SPL1 | SPL1 | SPL3 | SPL3 | SPL3 | SPL3 | SPL3 | SPL3 | Well ID
| E | SPL2 | SPL2 | SPL2 | SPL2 | SPL2 | SPL2 | SPL4 | SPL4 | SPL4 | SPL4 |  |  | Well ID
| F | SPL5 | SPL5 | SPL5 | SPL5 | SPL5 |  | SPL6 | SPL6 | SPL6 | SPL6 | SPL6 |  | Well ID
| G | SPL7 | SPL7 | SPL7 | SPL7 |  |  | SPL8 | SPL8 | SPL8 | SPL8 | SPL8 |  | Well ID
| H | 1: SPL9; 2: SPL9; 3: SPL9; 4: SPL9 | Well ID
Plate 3
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | BKEthD | BKEthD | BKEthD | BKCal | BKCal | BKCal | PEthD | PEthD | PEthD | PCal | PCal | PCal | Well ID
| B | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | NegPDMSEtO | BLK | BLK | BLK | BLK | BLK | BLK | Well ID
| C | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | NegPDMSAut | DyeOnly | DyeOnly | DyeOnly | DyeOnly | DyeOnly | DyeOnly | Well ID
| D | SPL1 | SPL1 | SPL1 | SPL1 | SPL1 | SPL1 | SPL3 | SPL3 | SPL3 | SPL3 | SPL3 | SPL3 | Well ID
| E | SPL2 | SPL2 | SPL2 | SPL2 | SPL2 | SPL2 | SPL4 | SPL4 | SPL4 | SPL4 |  |  | Well ID
| F | SPL5 | SPL5 | SPL5 | SPL5 | SPL5 |  | SPL6 | SPL6 | SPL6 | SPL6 | SPL6 |  | Well ID
| G | SPL7 | SPL7 | SPL7 | SPL7 |  |  | SPL8 | SPL8 | SPL8 | SPL8 | SPL8 |  | Well ID
| H | 1: SPL9; 2: SPL9; 3: SPL9; 4: SPL9 | Well ID
Results
Actual Temperature: | 22.1
Actual Temperature: | 22.1
Plate 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 596 | 620 | 583 | 44069 | 4487 | 6621 | 626 | 663 | 636 | 1508 | 1476 | 1533 | cal/txrd:485,526
|  | 71 | 79 | 59 | 8 | 14 | 12 | 230 | 318 | 238 | 13 | 17 | 10 | cal/txrd:584,625
|  | -171 | -147 | -184 | 43302 | 3720 | 5854 | -141 | -104 | -131 | 741 | 709 | 766 | Blank cal/txrd:485,526
|  | 52 | 60 | 40 | -11 | -5 | -7 | 211 | 299 | 219 | -6 | -2 | -9 | Blank cal/txrd:584,625
| B | OVRFLW | 115125 | OVRFLW | 233901 | 663099 | 8381 | 776 | 770 | 774 | 752 | 774 | 788 | cal/txrd:485,526
|  | 92 | 100 | 282 | 204 | 355 | 53 | 11 | 20 | 18 | 18 | 20 | 23 | cal/txrd:584,625
|  | ????? | 114358 | ????? | 233134 | 662332 | 7614 | 9 | 3 | 7 | -15 | 7 | 21 | Blank cal/txrd:485,526
|  | 73 | 81 | 263 | 185 | 336 | 34 | -8 | 1 | -1 | -1 | 1 | 4 | Blank cal/txrd:584,625
| C | 12633 | 3826 | 7393 | 30789 | 114393 | 384896 | 1028 | 1049 | 1025 | 1052 | 1010 | 1056 | cal/txrd:485,526
|  | 60 | 52 | 64 | 59 | 60 | 247 | 32 | 25 | 23 | 26 | 24 | 27 | cal/txrd:584,625
|  | 11866 | 3059 | 6626 | 30022 | 113626 | 384129 | 261 | 282 | 258 | 285 | 243 | 289 | Blank cal/txrd:485,526
|  | 41 | 33 | 45 | 40 | 41 | 228 | 13 | 6 | 4 | 7 | 5 | 8 | Blank cal/txrd:584,625
| D | 111425 | 36164 | 3998 | 146686 | 142373 | 34004 | 168507 | 199433 | OVRFLW | 302736 | OVRFLW | 146971 | cal/txrd:485,526
|  | 58 | 68 | 57 | 107 | 117 | 65 | 187 | 142 | 134 | 242 | 92 | 101 | cal/txrd:584,625
|  | 110658 | 35397 | 3231 | 145919 | 141606 | 33237 | 167740 | 198666 | ????? | 301969 | ????? | 146204 | Blank cal/txrd:485,526
|  | 39 | 49 | 38 | 88 | 98 | 46 | 168 | 123 | 115 | 223 | 73 | 82 | Blank cal/txrd:584,625
| E | 119801 | 78510 | 3598 | 170592 | 40464 | 22824 | 131036 | 123266 | 139237 | 134946 |  |  | cal/txrd:485,526
|  | 80 | 72 | 37 | 87 | 46 | 46 | 64 | 60 | 74 | 77 |  |  | cal/txrd:584,625
|  | 119034 | 77743 | 2831 | 169825 | 39697 | 22057 | 130269 | 122499 | 138470 | 134179 |  |  | Blank cal/txrd:485,526
|  | 61 | 53 | 18 | 68 | 27 | 27 | 45 | 41 | 55 | 58 |  |  | Blank cal/txrd:584,625
| F | 19568 | 122173 | 156283 | 157547 | 155770 |  | 88851 | 27564 | 148589 | 101677 | 159258 |  | cal/txrd:485,526
|  | 89 | 57 | 57 | 63 | 77 |  | 67 | 61 | 73 | 79 | 107 |  | cal/txrd:584,625
|  | 18801 | 121406 | 155516 | 156780 | 155003 |  | 88084 | 26797 | 147822 | 100910 | 158491 |  | Blank cal/txrd:485,526
|  | 70 | 38 | 38 | 44 | 58 |  | 48 | 42 | 54 | 60 | 88 |  | Blank cal/txrd:584,625
| G | 27676 | 21905 | 185498 | OVRFLW |  |  | 39404 | 91158 | 58547 | 71093 | OVRFLW |  | cal/txrd:485,526
|  | 62 | 65 | 100 | 92 |  |  | 64 | 70 | 61 | 54 | 66 |  | cal/txrd:584,625
|  | 26909 | 21138 | 184731 | ????? |  |  | 38637 | 90391 | 57780 | 70326 | ????? |  | Blank cal/txrd:485,526
|  | 43 | 46 | 81 | 73 |  |  | 45 | 51 | 42 | 35 | 47 |  | Blank cal/txrd:584,625
| H | 1: 1228; 2: 11127; 3: 45504; 4: 19515 | cal/txrd:485,526
|  | 1: 34; 2: 79; 3: 73; 4: 67 | cal/txrd:584,625
|  | 1: 461; 2: 10360; 3: 44737; 4: 18748 | Blank cal/txrd:485,526
|  | 1: 15; 2: 60; 3: 54; 4: 48 | Blank cal/txrd:584,625
Plate 2
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 609 | 619 | 572 | 74311 | 8201 | 9854 | 647 | 639 | 614 | 1663 | 1724 | 1666 | cal/txrd:485,526
|  | 64 | 73 | 63 | 14 | 12 | 12 | 284 | 281 | 256 | 16 | 15 | 17 | cal/txrd:584,625
|  | -158 | -148 | -195 | 73544 | 7434 | 9087 | -120 | -128 | -153 | 896 | 957 | 899 | Blank cal/txrd:485,526
|  | 45 | 54 | 44 | -5 | -7 | -7 | 265 | 262 | 237 | -3 | -4 | -2 | Blank cal/txrd:584,625
| B | OVRFLW | 23480 | 82855 | 30405 | 951961 | 12061 | 760 | 771 | 740 | 754 | 770 | 782 | cal/txrd:485,526
|  | 105 | 47 | 81 | 62 | 491 | 51 | 19 | 21 | 19 | 24 | 20 | 18 | cal/txrd:584,625
|  | ????? | 22713 | 82088 | 29638 | 951194 | 11294 | -7 | 4 | -27 | -13 | 3 | 15 | Blank cal/txrd:485,526
|  | 86 | 28 | 62 | 43 | 472 | 32 | 0 | 2 | 0 | 5 | 1 | -1 | Blank cal/txrd:584,625
| C | 18617 | 6298 | 9680 | 42212 | 178597 | 681540 | 1065 | 1073 | 1081 | 1049 | 1058 | 1113 | cal/txrd:485,526
|  | 55 | 45 | 52 | 51 | 68 | 393 | 26 | 22 | 23 | 21 | 23 | 27 | cal/txrd:584,625
|  | 17850 | 5531 | 8913 | 41445 | 177830 | 680773 | 298 | 306 | 314 | 282 | 291 | 346 | Blank cal/txrd:485,526
|  | 36 | 26 | 33 | 32 | 49 | 374 | 7 | 3 | 4 | 2 | 4 | 8 | Blank cal/txrd:584,625
| D | OVRFLW | 274736 | 8649 | 886550 | 416961 | 380567 | 342789 | 779627 | 210794 | 147062 | 541835 | 226483 | cal/txrd:485,526
|  | 65 | 169 | 45 | 411 | 213 | 214 | 265 | 421 | 107 | 139 | 310 | 104 | cal/txrd:584,625
|  | ????? | 273969 | 7882 | 885783 | 416194 | 379800 | 342022 | 778860 | 210027 | 146295 | 541068 | 225716 | Blank cal/txrd:485,526
|  | 46 | 150 | 26 | 392 | 194 | 195 | 246 | 402 | 88 | 120 | 291 | 85 | Blank cal/txrd:584,625
| E | 170297 | 103800 | 7242 | 266478 | 61513 | 34619 | 188530 | 184293 | 196814 | 206560 |  |  | cal/txrd:485,526
|  | 91 | 68 | 36 | 93 | 58 | 50 | 68 | 60 | 69 | 91 |  |  | cal/txrd:584,625
|  | 169530 | 103033 | 6475 | 265711 | 60746 | 33852 | 187763 | 183526 | 196047 | 205793 |  |  | Blank cal/txrd:485,526
|  | 72 | 49 | 17 | 74 | 39 | 31 | 49 | 41 | 50 | 72 |  |  | Blank cal/txrd:584,625
| F | 10810 | 160866 | 205173 | 209902 | OVRFLW |  | 132146 | 45469 | 261402 | 132240 | 223201 |  | cal/txrd:485,526
|  | 60 | 59 | 65 | 67 | 82 |  | 66 | 67 | 92 | 84 | 105 |  | cal/txrd:584,625
|  | 10043 | 160099 | 204406 | 209135 | ????? |  | 131379 | 44702 | 260635 | 131473 | 222434 |  | Blank cal/txrd:485,526
|  | 41 | 40 | 46 | 48 | 63 |  | 47 | 48 | 73 | 65 | 86 |  | Blank cal/txrd:584,625
| G | 44673 | 34576 | 269042 | 257839 |  |  | 55992 | 128342 | 79773 | 97826 | 221692 |  | cal/txrd:485,526
|  | 67 | 52 | 104 | 95 |  |  | 70 | 76 | 61 | 47 | 72 |  | cal/txrd:584,625
|  | 43906 | 33809 | 268275 | 257072 |  |  | 55225 | 127575 | 79006 | 97059 | 220925 |  | Blank cal/txrd:485,526
|  | 48 | 33 | 85 | 76 |  |  | 51 | 57 | 42 | 28 | 53 |  | Blank cal/txrd:584,625
| H | 1: 1339; 2: 17868; 3: 63288; 4: 27539 | cal/txrd:485,526
|  | 1: 35; 2: 75; 3: 62; 4: 61 | cal/txrd:584,625
|  | 1: 572; 2: 17101; 3: 62521; 4: 26772 | Blank cal/txrd:485,526
|  | 1: 16; 2: 56; 3: 43; 4: 42 | Blank cal/txrd:584,625
Plate 3
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 612 | 614 | 597 | OVRFLW | 9144 | 11269 | 655 | 671 | 609 | 1756 | 1741 | 1743 | cal/txrd:485,526
|  | 64 | 65 | 62 | 15 | 15 | 13 | 286 | 297 | 280 | 11 | 20 | 13 | cal/txrd:584,625
|  | -155 | -153 | -170 | ????? | 8377 | 10502 | -112 | -96 | -158 | 989 | 974 | 976 | Blank cal/txrd:485,526
|  | 45 | 46 | 43 | -4 | -4 | -6 | 267 | 278 | 261 | -8 | 1 | -6 | Blank cal/txrd:584,625
| B | 244336 | 20908 | 129192 | 30118 | 1010347 | 13316 | 749 | 772 | 751 | 760 | 780 | 779 | cal/txrd:485,526
|  | 109 | 53 | 93 | 55 | 485 | 53 | 22 | 16 | 15 | 16 | 22 | 23 | cal/txrd:584,625
|  | 243569 | 20141 | 128425 | 29351 | 1009580 | 12549 | -18 | 5 | -16 | -7 | 13 | 12 | Blank cal/txrd:485,526
|  | 90 | 34 | 74 | 36 | 466 | 34 | 3 | -3 | -4 | -3 | 3 | 4 | Blank cal/txrd:584,625
| C | 20403 | 10445 | 11129 | 47474 | 190316 | 732023 | 1052 | 1076 | 1067 | 1038 | 1051 | 1109 | cal/txrd:485,526
|  | 52 | 46 | 51 | 71 | 73 | 401 | 25 | 22 | 20 | 23 | 22 | 30 | cal/txrd:584,625
|  | 19636 | 9678 | 10362 | 46707 | 189549 | 731256 | 285 | 309 | 300 | 271 | 284 | 342 | Blank cal/txrd:485,526
|  | 33 | 27 | 32 | 52 | 54 | 382 | 6 | 3 | 1 | 4 | 3 | 11 | Blank cal/txrd:584,625
| D | 181802 | 418365 | 10853 | 1009717 | 487860 | 306009 | 671779 | 868264 | 124309 | 104458 | 610155 | 252778 | cal/txrd:485,526
|  | 76 | 235 | 53 | 456 | 251 | 179 | 397 | 422 | 109 | 99 | 360 | 98 | cal/txrd:584,625
|  | 181035 | 417598 | 10086 | 1008950 | 487093 | 305242 | 671012 | 867497 | 123542 | 103691 | 609388 | 252011 | Blank cal/txrd:485,526
|  | 57 | 216 | 34 | 437 | 232 | 160 | 378 | 403 | 90 | 80 | 341 | 79 | Blank cal/txrd:584,625
| E | 182645 | 123281 | 8950 | 284833 | 58198 | 34003 | 200538 | 197949 | 210492 | 424653 |  |  | cal/txrd:485,526
|  | 89 | 64 | 30 | 103 | 46 | 52 | 63 | 55 | 74 | 214 |  |  | cal/txrd:584,625
|  | 181878 | 122514 | 8183 | 284066 | 57431 | 33236 | 199771 | 197182 | 209725 | 423886 |  |  | Blank cal/txrd:485,526
|  | 70 | 45 | 11 | 84 | 27 | 33 | 44 | 36 | 55 | 195 |  |  | Blank cal/txrd:584,625
| F | 10651 | 165092 | 212361 | 218043 | 224895 |  | 184857 | 49952 | 245034 | 183334 | 239329 |  | cal/txrd:485,526
|  | 62 | 60 | 68 | 65 | 86 |  | 90 | 65 | 108 | 104 | 104 |  | cal/txrd:584,625
|  | 9884 | 164325 | 211594 | 217276 | 224128 |  | 184090 | 49185 | 244267 | 182567 | 238562 |  | Blank cal/txrd:485,526
|  | 43 | 41 | 49 | 46 | 67 |  | 71 | 46 | 89 | 85 | 85 |  | Blank cal/txrd:584,625
| G | 48552 | 39546 | 284701 | 276060 |  |  | 62676 | 143494 | 89387 | 108725 | 230900 |  | cal/txrd:485,526
|  | 59 | 54 | 101 | 98 |  |  | 67 | 80 | 68 | 54 | 73 |  | cal/txrd:584,625
|  | 47785 | 38779 | 283934 | 275293 |  |  | 61909 | 142727 | 88620 | 107958 | 230133 |  | Blank cal/txrd:485,526
|  | 40 | 35 | 82 | 79 |  |  | 48 | 61 | 49 | 35 | 54 |  | Blank cal/txrd:584,625
| H | 1: 1596; 2: 22271; 3: 74604; 4: 33551 | cal/txrd:485,526
|  | 1: 36; 2: 89; 3: 73; 4: 69 | cal/txrd:584,625
|  | 1: 829; 2: 21504; 3: 73837; 4: 32784 | Blank cal/txrd:485,526
|  | 1: 17; 2: 70; 3: 54; 4: 50 | Blank cal/txrd:584,625

## Sheet2
Plate ID | Plate Row ID | Plate Column ID | Excel Row ID for Cal | Excel Column ID | Resin | Sterilization | Calcein Reading (485, 526) | Tx Red Reading (584, 625)
3 | A | 1 | 153 | C | Live - EthD Only | N/A | 612 | 64
3 | A | 2 | 153 | D | Live - EthD Only | N/A | 614 | 65
3 | A | 3 | 153 | E | Live - EthD Only | N/A | 597 | 62
3 | A | 4 | 153 | F | Live - Cal Only | N/A | OVRFLW | 15
3 | A | 5 | 153 | G | Live - Cal Only | N/A | 9144 | 15
3 | A | 6 | 153 | H | Live - Cal Only | N/A | 11269 | 13
3 | A | 7 | 153 | I | Dead - EthD Only | N/A | 655 | 286
3 | A | 8 | 153 | J | Dead - EthD Only | N/A | 671 | 297
3 | A | 9 | 153 | K | Dead - EthD Only | N/A | 609 | 280
3 | A | 10 | 153 | L | Dead - Cal Only | N/A | 1756 | 11
3 | A | 11 | 153 | M | Dead - Cal Only | N/A | 1741 | 20
3 | A | 12 | 153 | N | Dead - Cal Only | N/A | 1743 | 13
3 | B | 7 | 157 | I | Blank | N/A | 749 | 22
3 | B | 8 | 157 | J | Blank | N/A | 772 | 16
3 | B | 9 | 157 | K | Blank | N/A | 751 | 15
3 | B | 10 | 157 | L | Blank | N/A | 760 | 16
3 | B | 11 | 157 | M | Blank | N/A | 780 | 22
3 | B | 12 | 157 | N | Blank | N/A | 779 | 23
3 | C | 7 | 161 | I | Dye Only | N/A | 1052 | 25
3 | C | 8 | 161 | J | Dye Only | N/A | 1076 | 22
3 | C | 9 | 161 | K | Dye Only | N/A | 1067 | 20
3 | C | 10 | 161 | L | Dye Only | N/A | 1038 | 23
3 | C | 11 | 161 | M | Dye Only | N/A | 1051 | 22
3 | C | 12 | 161 | N | Dye Only | N/A | 1109 | 30
3 | D | 1 | 165 | C | FormLabs Silicone 40A | 70% Ethanol | 181802 | 76
3 | D | 2 | 165 | D | FormLabs Silicone 40A | 70% Ethanol | 418365 | 235
3 | D | 3 | 165 | E | FormLabs Silicone 40A | 70% Ethanol | 10853 | 53
3 | D | 4 | 165 | F | FormLabs Silicone 40A | 70% Ethanol | 1009717 | 456
3 | D | 5 | 165 | G | FormLabs Silicone 40A | 70% Ethanol | 487860 | 251
3 | D | 6 | 165 | H | FormLabs Silicone 40A | 70% Ethanol | 306009 | 179
3 | E | 1 | 169 | C | FormLabs Silicone 40A | Autoclave | 182645 | 89
3 | E | 2 | 169 | D | FormLabs Silicone 40A | Autoclave | 123281 | 64
3 | E | 3 | 169 | E | FormLabs Silicone 40A | Autoclave | 8950 | 30
3 | E | 4 | 169 | F | FormLabs Silicone 40A | Autoclave | 284833 | 103
3 | E | 5 | 169 | G | FormLabs Silicone 40A | Autoclave | 58198 | 46
3 | E | 6 | 169 | H | FormLabs Silicone 40A | Autoclave | 34003 | 52
3 | B | 1 | 157 | C | PDMS | 70% Ethanol | 244336 | 109
3 | B | 2 | 157 | D | PDMS | 70% Ethanol | 20908 | 53
3 | B | 3 | 157 | E | PDMS | 70% Ethanol | 129192 | 93
3 | B | 4 | 157 | F | PDMS | 70% Ethanol | 30118 | 55
3 | B | 5 | 157 | G | PDMS | 70% Ethanol | 1010347 | 485
3 | B | 6 | 157 | H | PDMS | 70% Ethanol | 13316 | 53
3 | C | 1 | 161 | C | PDMS | Autoclave | 20403 | 52
3 | C | 2 | 161 | D | PDMS | Autoclave | 10445 | 46
3 | C | 3 | 161 | E | PDMS | Autoclave | 11129 | 51
3 | C | 4 | 161 | F | PDMS | Autoclave | 47474 | 71
3 | C | 5 | 161 | G | PDMS | Autoclave | 190316 | 73
3 | C | 6 | 161 | H | PDMS | Autoclave | 732023 | 401
3 | D | 7 | 165 | I | KD Mix 1 | 70% Ethanol | 671779 | 397
3 | D | 8 | 165 | J | KD Mix 1 | 70% Ethanol | 868264 | 422
3 | D | 9 | 165 | K | KD Mix 1 | 70% Ethanol | 124309 | 109
3 | D | 10 | 165 | L | KD Mix 1 | 70% Ethanol | 104458 | 99
3 | D | 11 | 165 | M | KD Mix 1 | 70% Ethanol | 610155 | 360
3 | D | 12 | 165 | N | KD Mix 1 | 70% Ethanol | 252778 | 98
3 | E | 7 | 169 | I | KD Mix 1 | Autoclave | 200538 | 63
3 | E | 8 | 169 | J | KD Mix 1 | Autoclave | 197949 | 55
3 | E | 9 | 169 | K | KD Mix 1 | Autoclave | 210492 | 74
3 | E | 10 | 169 | L | KD Mix 1 | Autoclave | 424653 | 214
3 | F | 1 | 173 | C | KD Mix #5-I | 70% Ethanol | 10651 | 62
3 | F | 2 | 173 | D | KD Mix #5-I | 70% Ethanol | 165092 | 60
3 | F | 3 | 173 | E | KD Mix 4-OB | 70% Ethanol | 212361 | 68
3 | F | 4 | 173 | F | KD Mix 4-OB | 70% Ethanol | 218043 | 65
3 | F | 5 | 173 | G | KD Mix 4-OB | 70% Ethanol | 224895 | 86
3 | F | 7 | 173 | I | KD Mix 2-Z | 70% Ethanol | 184857 | 90
3 | F | 8 | 173 | J | KD Mix 2-Z | 70% Ethanol | 49952 | 65
3 | F | 9 | 173 | K | KD Mix 2-Z | 70% Ethanol | 245034 | 108
3 | F | 10 | 173 | L | KD Mix 2-Z | 70% Ethanol | 183334 | 104
3 | F | 11 | 173 | M | KD Mix 2-Z | 70% Ethanol | 239329 | 104
3 | G | 1 | 177 | C | KD Mix 3-R | 70% Ethanol | 48552 | 59
3 | G | 2 | 177 | D | KD Mix 3-R | 70% Ethanol | 39546 | 54
3 | G | 3 | 177 | E | KD Mix 3-R | 70% Ethanol | 284701 | 101
3 | G | 4 | 177 | F | KD Mix 3-R | 70% Ethanol | 276060 | 98
3 | G | 7 | 177 | I | KD Mix 2-Z | Autoclave | 62676 | 67
3 | G | 8 | 177 | J | KD Mix 2-Z | Autoclave | 143494 | 80
3 | G | 9 | 177 | K | KD Mix 2-Z | Autoclave | 89387 | 68
3 | G | 10 | 177 | L | KD Mix 2-Z | Autoclave | 108725 | 54
3 | G | 11 | 177 | M | KD Mix 2-Z | Autoclave | 230900 | 73
3 | H | 1 | 181 | C | KD Mix 3-R | Autoclave | 1596 | 36
3 | H | 2 | 181 | D | KD Mix 3-R | Autoclave | 22271 | 89
3 | H | 3 | 181 | E | KD Mix 3-R | Autoclave | 74604 | 73
3 | H | 4 | 181 | F | KD Mix 3-R | Autoclave | 33551 | 69