## Sheet1
Software Version | 3.15.15
Experiment File Path: | C:\Users\sauls\Desktop\PlateReader\Ashlee\ResinBiocompatibility\72h\asl_20240207_resin_72h.xpt
Protocol File Path: | C:\Users\sauls\Desktop\PlateReader\Ashlee\ResinBiocompatibility\resinBiocompatibility_livedead_exp_asl_20240207.prt
Plate Number | 1
Date | 2024-02-09
Time | 13:58
Reader Type (Plate 1): | Synergy H1
Reader Serial Number (Plate 1): | 2302071A
Reading Type | Reader
Plate Number | 2
Date | 2024-02-09
Time | 14:07
Reader Type (Plate 2): | Synergy H1
Reader Serial Number (Plate 2): | 2302071A
Reading Type | Reader
Plate Number | 3
Date | 2024-02-09
Time | 14:10
Reader Type (Plate 3): | Synergy H1
Reader Serial Number (Plate 3): | 2302071A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | cal/txrd
Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485, Emission: 526
Optics: Bottom, Gain: extended
Filter Set 2
Excitation: 584, Emission: 625
Optics: Bottom, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
Plate 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | BG1R1E | BG1R1E | BG1R1E | BG1R1E | BG1R1E | BG1R1E | BG1R2E | BG1R2E | BG1R2E | BG1R2E | BG1R2E | BG1R2E | Well ID
| B | BG1R1A | BG1R1A | BG1R1A | BG1R1A | BG1R1A | BG1R1A | BG1R2A | BG1R2A | BG1R2A | BG1R2A | BG1R2A | BG1R2A | Well ID
| C | SPL1 | SPL1 | SPL1 | SPL1 | SPL1 | SPL1 | SPL3 | SPL3 | SPL3 | SPL3 | SPL3 | SPL3 | Well ID
| D | SPL2 | SPL2 | SPL2 | SPL2 | SPL2 | SPL2 | SPL4 | SPL4 | SPL4 | SPL4 | SPL4 | SPL4 | Well ID
| E | BG1R3E | BG1R3E | BG1R3E | BG1R3E | BG1R3E | BG1R3E | BG1R4E | BG1R4E | BG1R4E | BG1R4E | BG1R4E | BG1R4E | Well ID
| F | BGR3A | BGR3A | BGR3A | BGR3A | BGR3A | BGR3A | BG1R4A | BG1R4A | BG1R4A | BG1R4A | BG1R4A | BG1R4A | Well ID
| G | SPL5 | SPL5 | SPL5 | SPL5 | SPL5 | SPL5 | SPL7 | SPL7 | SPL7 | SPL7 | SPL7 | SPL7 | Well ID
| H | SPL6 | SPL6 | SPL6 | SPL6 | SPL6 | SPL6 | SPL8 | SPL8 | SPL8 | SPL8 | SPL8 | SPL8 | Well ID
Plate 2
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | BG1R5E | BG1R5E | BG1R5E | BG1R5E | BG1R5E | BG1R5E | BGR6E | BGR6E | BGR6E | BGR6E | BGR6E | BGR6E | Well ID
| B | BG1R5A | BG1R5A | BG1R5A | BG1R5A | BG1R5A | BG1R5A | BGR6A | BGR6A | BGR6A | BGR6A | BGR6A | BGR6A | Well ID
| C | SPL9 | SPL9 | SPL9 | SPL9 | SPL9 | SPL9 | SPL11 | SPL11 | SPL11 | SPL11 | SPL11 | SPL11 | Well ID
| D | SPL10 | SPL10 | SPL10 | SPL10 | SPL10 | SPL10 | SPL12 | SPL12 | SPL12 | SPL12 | SPL12 | SPL12 | Well ID
| E | 1: BGR7E; 2: BGR7E; 3: BGR7E; 4: BGR7E; 5: BGR7E; 6: BGR7E | Well ID
| F | 1: BGR7A; 2: BGR7A; 3: BGR7A; 4: BGR7A; 5: BGR7A; 6: BGR7A | Well ID
| G | 1: SPL13; 2: SPL13; 3: SPL13; 4: SPL13; 5: SPL13; 6: SPL13 | Well ID
| H | 1: SPL14; 2: SPL14; 3: SPL14; 4: SPL14; 5: SPL14; 6: SPL14 | Well ID
Plate 3
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | BKCal | BKCal | BKCal | BKEthD | BKEthD | BKEthD | PCal | PCal | PCal | PEthD | PEthD | PEthD | Well ID
| B | BGN1E | BGN1E | BGN1E | BGN1E | BGN1E | BGN1E | DyeOnly | DyeOnly | DyeOnly | DyeOnly | DyeOnly | DyeOnly | Well ID
| C | BGN1A | BGN1A | BGN1A | BGN1A | BGN1A | BGN1A | BLK | BLK | BLK | BLK | BLK | BLK | Well ID
| D | 1: SPLC1; 2: SPLC1; 3: SPLC1; 4: SPLC1; 5: SPLC1; 6: SPLC1 | Well ID
| E | 1: SPLC2; 2: SPLC2; 3: SPLC2; 4: SPLC2; 5: SPLC2; 6: SPLC2 | Well ID
| F | [12 empty] | Well ID
| G | [12 empty] | Well ID
| H | [12 empty] | Well ID
Results
Actual Temperature: | 22.9
Actual Temperature: | 22.9
| Plate 1 | [25 empty] | Plate 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | [9 empty] | W/O Background Sub |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 949 | 979 | 955 | 1076 | 966 | 1007 | 1265 | 1244 | 1322 | 1300 | 1329 | 1449 | cal/txrd:485,526 | BG-R1E Avg | 988.6667 | BG-R2E Avg | 1318.1667 |  |  |  |  | Formlabs Silicone 40A |  | 3D Resyn Bioflex A10 IPA Wash |  | A | 949 | 979 | 955 | 1076 | 966 | 1007 | 1265 | 1244 | 1322 | 1300 | 1329 | 1449 | cal/txrd:485,526
|  | 30 | 25 | 22 | 48 | 34 | 22 | 28 | 24 | 32 | 31 | 33 | 109 | cal/txrd:584,625 | Formlabs Silicone 40A | 30.1667 | 3D Resyn Bioflex A10 IPA Wash | 42.8333 |  |  |  |  | %Live E | 110% | %Live E | 2.313% |  | 30 | 25 | 22 | 48 | 34 | 22 | 28 | 24 | 32 | 31 | 33 | 109 | cal/txrd:584,625
|  | 115 | 145 | 121 | 242 | 132 | 173 | 431 | 410 | 488 | 466 | 495 | 615 | Blank cal/txrd:485,526 |  | 154.6667 |  | 484.1667 |  |  |  |  | %Dead E | 23.11% | %Dead E | 9.363%
|  | 6 | 1 | -2 | 24 | 10 | -2 | 4 | 0 | 8 | 7 | 9 | 85 | Blank cal/txrd:584,625 |  | 6.1667 |  | 18.8333 |  |  |  |  | %Live A | 108.4% | %Live A | 0.4877%
| B | 972 | 983 | 962 | 972 | 1059 | 980 | 983 | 1184 | 1348 | 1314 | 1292 | 1383 | cal/txrd:485,526 | BG-R1A Avg | 988 | BG-R2A Avg | 1250.6667 |  |  |  |  | %Dead A | 23.9% | %Dead A | 7.171% | B | 972 | 983 | 962 | 972 | 1059 | 980 | 983 | 1184 | 1348 | 1314 | 1292 | 1383 | cal/txrd:485,526
|  | 36 | 27 | 30 | 32 | 80 | 40 | 24 | 39 | 27 | 24 | 33 | 32 | cal/txrd:584,625 | Formlabs Silicone 40A | 40.8333 | 3D Resyn Bioflex A10 IPA Wash | 29.8333 | [9 empty] | 36 | 27 | 30 | 32 | 80 | 40 | 24 | 39 | 27 | 24 | 33 | 32 | cal/txrd:584,625
|  | 138 | 149 | 128 | 138 | 225 | 146 | 149 | 350 | 514 | 480 | 458 | 549 | Blank cal/txrd:485,526 |  | 154 |  | 416.6667
|  | 12 | 3 | 6 | 8 | 56 | 16 | 0 | 15 | 3 | 0 | 9 | 8 | Blank cal/txrd:584,625 |  | 16.8333 |  | 5.8333 |  |  |  |  | W/ Background Sub
| C | 120819 | 136457 | 133088 | 134653 | 134271 | 170342 | 1235 | 14547 | 1443 | 1490 | 1512 | 1563 | cal/txrd:485,526 | EX-R1E Avg | 138271.6667 | EX-R2E Avg | 3631.6667 | EX-R1E Avg - BG-R1E Avg | 137283 | EX-R2E Avg - BG-R2E Avg | 2313.5 | Formlabs Silicone 40A |  | 3D Resyn Bioflex A10 IPA Wash |  | C | 120819 | 136457 | 133088 | 134653 | 134271 | 170342 | 1235 | 14547 | 1443 | 1490 | 1512 | 1563 | cal/txrd:485,526
|  | 68 | 73 | 83 | 78 | 86 | 50 | 31 | 44 | 38 | 34 | 41 | 43 | cal/txrd:584,625 | Formlabs Silicone 40A | 73 | 3D Resyn Bioflex A10 IPA Wash | 38.5 | Formlabs Silicone 40A | 42.8333 | 3D Resyn Bioflex A10 IPA Wash | -4.3333 | %Live E | 110.1% | %Live E | 2.166% |  | 68 | 73 | 83 | 78 | 86 | 50 | 31 | 44 | 38 | 34 | 41 | 43 | cal/txrd:584,625
|  | 119985 | 135623 | 132254 | 133819 | 133437 | 169508 | 401 | 13713 | 609 | 656 | 678 | 729 | Blank cal/txrd:485,526 |  | 137437.6667 |  | 2797.6667 | Background Subtraction | 137283 | Background Subtraction | 2313.5 | %Dead E | 22.97% | %Dead E | 4.183% |  | 119830.3333 | 135468.3333 | 132099.3333 | 133664.3333 | 133282.3333 | 169353.3333 | -83.1667 | 13228.8333 | 124.8333 | 171.8333 | 193.8333 | 244.8333 | Cal Background Subtraction
|  | 44 | 49 | 59 | 54 | 62 | 26 | 7 | 20 | 14 | 10 | 17 | 19 | Blank cal/txrd:584,625 |  | 49 |  | 14.5 |  | 42.8333 |  | -4.3333 | %Live A | 108.5% | %Live A | 0.3954% |  | 37.8333 | 42.8333 | 52.8333 | 47.8333 | 55.8333 | 19.8333 | -11.8333 | 1.1667 | -4.8333 | -8.8333 | -1.8333 | 0.16667 | EthD Background Subtraction
| D | 139128 | 136257 | 135587 | 127184 | 132957 | 146374 | 1148 | 1322 | 1347 | 1388 | 1419 | 1473 | cal/txrd:485,526 | EX-R1A Avg | 136247.8333 | EX-R2A Avg | 1349.5 | EX-R1A Avg - BG-R1A Avg | 135259.8333 | EX-R2A Avg - BG-R2A Avg | 98.8333 | %Dead A | 19.52% | %Dead A | 7.171% |  | 96.02% | 108.5% | 105.8% | 107.1% | 106.8% | 135.6% | 0.3961% | 11.04% | 0.5624% | 0.6% | 0.6176% | 0.6584% | %Live, no bg sub
|  | 98 | 69 | 82 | 86 | 62 | 53 | 32 | 31 | 34 | 29 | 39 | 33 | cal/txrd:584,625 | Formlabs Silicone 40A | 75 | 3D Resyn Bioflex A10 IPA Wash | 33 | Formlabs Silicone 40A | 34.1667 | 3D Resyn Bioflex A10 IPA Wash | 3.1667 | [5 empty] | 21.12% | 23.11% | 27.09% | 25.1% | 28.29% | 13.94% | 6.375% | 11.55% | 9.163% | 7.57% | 10.36% | 11.16% | %Dead, no bg sub
|  | 138294 | 135423 | 134753 | 126350 | 132123 | 145540 | 314 | 488 | 513 | 554 | 585 | 639 | Blank cal/txrd:485,526 |  | 135413.8333 |  | 515.5 | Background Subtraction | 135259.8333 | Background Subtraction | 98.8333 | [5 empty] | 96.14% | 108.6% | 106% | 107.2% | 106.9% | 135.7% | 0.2499% | 10.89% | 0.4162% | 0.4538% | 0.4714% | 0.5122% | %Live, w bg sub
|  | 74 | 45 | 58 | 62 | 38 | 29 | 8 | 7 | 10 | 5 | 15 | 9 | Blank cal/txrd:584,625 |  | 51 |  | 9 |  | 34.1667 |  | 3.1667 | W/O Background Sub |  |  |  |  | 20.98% | 22.97% | 26.96% | 24.97% | 28.15% | 13.81% | 1.195% | 6.375% | 3.984% | 2.39% | 5.179% | 5.976% | %Dead, w bg sub
| E | 937 | 985 | 1210 | 1024 | 1105 | 1031 | 1019 | 1162 | 1245 | 1294 | 1361 | 1362 | cal/txrd:485,526 | BG-R3E Avg | 1048.6667 | BG-R4E Avg | 1240.5 |  |  |  |  | 3D Resyn Bioflex A10 Proprietary Wash |  | Asiga DentaGum |  | D | 139128 | 136257 | 135587 | 127184 | 132957 | 146374 | 1148 | 1322 | 1347 | 1388 | 1419 | 1473 | cal/txrd:485,526
|  | 31 | 31 | 57 | 33 | 38 | 94 | 28 | 30 | 32 | 22 | 30 | 29 | cal/txrd:584,625 | 3D Resyn Bioflex A10 Proprietary Wash | 47.3333 | Asiga DentaGum | 28.5 |  |  |  |  | %Live E | 0.4021% | %Live E | 2.819% |  | 98 | 69 | 82 | 86 | 62 | 53 | 32 | 31 | 34 | 29 | 39 | 33 | cal/txrd:584,625
|  | 103 | 151 | 376 | 190 | 271 | 197 | 185 | 328 | 411 | 460 | 527 | 528 | Blank cal/txrd:485,526 |  | 214.6667 |  | 406.5 |  |  |  |  | %Dead E | 12.42% | %Dead E | 9.296% |  | 138140 | 135269 | 134599 | 126196 | 131969 | 145386 | -102.6667 | 71.3333 | 96.3333 | 137.3333 | 168.3333 | 222.3333 | Cal Background Subtraction
|  | 7 | 7 | 33 | 9 | 14 | 70 | 4 | 6 | 8 | -2 | 6 | 5 | Blank cal/txrd:584,625 |  | 23.3333 |  | 4.5 |  |  |  |  | %Live A | 0.2816% | %Live A | 0.6305% |  | 57.1667 | 28.1667 | 41.1667 | 45.1667 | 21.1667 | 12.1667 | -10.8333 | -11.8333 | -8.8333 | -13.8333 | -3.8333 | -9.8333 | EthD Background Subtraction
| F | 1807 | 976 | 969 | 962 | 976 | 971 | 1056 | 1094 | 1098 | 1080 | 1126 | 1244 | cal/txrd:485,526 | BG-R3A Avg | 1110.1667 | BG-R4A Avg | 1116.3333 |  |  |  |  | %Dead A | 8.433% | %Dead A | 8.699% |  | 110.7% | 108.4% | 107.8% | 101.1% | 105.7% | 116.5% | 0.3265% | 0.4657% | 0.4857% | 0.5184% | 0.5432% | 0.5864% | %Live, no bg sub
|  | 67 | 34 | 34 | 26 | 35 | 26 | 34 | 27 | 27 | 20 | 30 | 27 | cal/txrd:584,625 | 3D Resyn Bioflex A10 Proprietary Wash | 37 | Asiga DentaGum | 27.5 | [9 empty] | 33.07% | 21.51% | 26.69% | 28.29% | 18.73% | 15.14% | 6.773% | 6.375% | 7.57% | 5.578% | 9.562% | 7.171% | %Dead, no bg sub
|  | 973 | 142 | 135 | 128 | 142 | 137 | 222 | 260 | 264 | 246 | 292 | 410 | Blank cal/txrd:485,526 |  | 276.1667 |  | 282.3333 | [9 empty] | 110.8% | 108.5% | 107.9% | 101.2% | 105.8% | 116.6% | 0.2343% | 0.3734% | 0.3934% | 0.4262% | 0.451% | 0.4942% | %Live, w bg sub
|  | 43 | 10 | 10 | 2 | 11 | 2 | 10 | 3 | 3 | -4 | 6 | 3 | Blank cal/txrd:584,625 |  | 13 |  | 3.5 |  |  |  |  | W/ Background Sub |  |  |  |  | 28.69% | 17.13% | 22.31% | 23.9% | 14.34% | 10.76% | 1.594% | 1.195% | 2.39% | 0.3984% | 4.382% | 1.992% | %Dead, w bg sub
| G | 1050 | 1193 | 1249 | 1246 | 1392 | 1325 | 12886 | 1659 | 1609 | 1517 | 3918 | 4001 | cal/txrd:485,526 | EX-R3E Avg | 1242.5 | EX-R4E Avg | 4265 | EX-R3E Avg - BG-R3E Avg | 193.8333 | EX-R4E Avg - BG-R4E Avg | 3024.5 | 3D Resyn Bioflex A10 Proprietary Wash |  | Asiga DentaGum |  | E | 937 | 985 | 1210 | 1024 | 1105 | 1031 | 1019 | 1162 | 1245 | 1294 | 1361 | 1362 | cal/txrd:485,526
|  | 39 | 46 | 76 | 39 | 43 | 34 | 48 | 38 | 31 | 33 | 44 | 36 | cal/txrd:584,625 | 3D Resyn Bioflex A10 Proprietary Wash | 46.1667 | Asiga DentaGum | 38.3333 | 3D Resyn Bioflex A10 Proprietary Wash | -1.1667 | Asiga DentaGum | 9.8333 | %Live E | 0.4714% | %Live E | 2.735% |  | 31 | 31 | 57 | 33 | 38 | 94 | 28 | 30 | 32 | 22 | 30 | 29 | cal/txrd:584,625
|  | 216 | 359 | 415 | 412 | 558 | 491 | 12052 | 825 | 775 | 683 | 3084 | 3167 | Blank cal/txrd:485,526 |  | 408.5 |  | 3431 | Background Subtraction | 193.8333 | Background Subtraction | 3024.5 | %Dead E | 5.445% | %Dead E | 9.827%
|  | 15 | 22 | 52 | 15 | 19 | 10 | 24 | 14 | 7 | 9 | 20 | 12 | Blank cal/txrd:584,625 |  | 22.1667 |  | 14.3333 |  | -1.1667 |  | 9.8333 | %Live A | 0.3017% | %Live A | 0.6457%
| H | 1034 | 1007 | 1012 | 1035 | 1237 | 1226 | 1304 | 1453 | 1637 | 1461 | 1939 | 1375 | cal/txrd:485,526 | EX-R3A Avg | 1091.8333 | EX-R4A Avg | 1528.1667 | EX-R3A Avg - BG-R3A Avg | -18.3333 | EX-R4A Avg - BG-R4A Avg | 411.8333 | %Dead A | 5.578% | %Dead A | 9.628% | F | 1807 | 976 | 969 | 962 | 976 | 971 | 1056 | 1094 | 1098 | 1080 | 1126 | 1244 | cal/txrd:485,526
|  | 34 | 37 | 41 | 34 | 36 | 35 | 35 | 29 | 42 | 25 | 59 | 31 | cal/txrd:584,625 | 3D Resyn Bioflex A10 Proprietary Wash | 36.1667 | Asiga DentaGum | 36.8333 | 3D Resyn Bioflex A10 Proprietary Wash | -0.83333 | Asiga DentaGum | 9.3333 | [5 empty] | 67 | 34 | 34 | 26 | 35 | 26 | 34 | 27 | 27 | 20 | 30 | 27 | cal/txrd:584,625
|  | 200 | 173 | 178 | 201 | 403 | 392 | 470 | 619 | 803 | 627 | 1105 | 541 | Blank cal/txrd:485,526 |  | 257.8333 |  | 694.1667 | Background Subtraction | -18.3333 | Background Subtraction | 411.8333
|  | 10 | 13 | 17 | 10 | 12 | 11 | 11 | 5 | 18 | 1 | 35 | 7 | Blank cal/txrd:584,625 |  | 12.1667 |  | 12.8333 |  | -0.83333 |  | 9.3333
[27 empty] | G | 1050 | 1193 | 1249 | 1246 | 1392 | 1325 | 12886 | 1659 | 1609 | 1517 | 3918 | 4001 | cal/txrd:485,526
| Plate 2 | [26 empty] | 39 | 46 | 76 | 39 | 43 | 34 | 48 | 38 | 31 | 33 | 44 | 36 | cal/txrd:584,625
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | [9 empty] | W/O Background Sub |  |  |  |  | 1.3333 | 144.3333 | 200.3333 | 197.3333 | 343.3333 | 276.3333 | 11645.5 | 418.5 | 368.5 | 276.5 | 2677.5 | 2760.5 | Cal Background Subtraction
| A | 1020 | 947 | 979 | 1056 | 1129 | 1045 | 1001 | 1187 | 1297 | 1098 | 1173 | 1243 | cal/txrd:485,526 | BG-R5E Avg | 1029.3333 | BG-R6E Avg | 1166.5 |  |  |  |  | Phrozen AquaGray 8K |  | Asiga DentaGuide |  |  | -8.3333 | -1.3333 | 28.6667 | -8.3333 | -4.3333 | -13.3333 | 19.5 | 9.5 | 2.5 | 4.5 | 15.5 | 7.5 | EthD Background Subtraction
|  | 26 | 31 | 27 | 38 | 30 | 33 | 26 | 24 | 26 | 29 | 32 | 31 | cal/txrd:584,625 | Phrozen AquaGray 8K | 30.8333 | Asiga DentaGuide | 28 |  |  |  |  | %Live E | 159.6% | %Live E | 218% |  | 0.2482% | 0.3625% | 0.4073% | 0.4049% | 0.5216% | 0.4681% | 9.713% | 0.7352% | 0.6952% | 0.6216% | 2.542% | 2.608% | %Live, no bg sub
|  | 186 | 113 | 145 | 222 | 295 | 211 | 167 | 353 | 463 | 264 | 339 | 409 | Blank cal/txrd:485,526 |  | 195.3333 |  | 332.5 |  |  |  |  | %Dead E | 22.24% | %Dead E | 23.44% |  | 9.562% | 12.35% | 24.3% | 9.562% | 11.16% | 7.57% | 13.15% | 9.163% | 6.375% | 7.171% | 11.55% | 8.367% | %Dead, no bg sub
|  | 2 | 7 | 3 | 14 | 6 | 9 | 2 | 0 | 2 | 5 | 8 | 7 | Blank cal/txrd:584,625 |  | 6.8333 |  | 4 |  |  |  |  | %Live A | 0.3399% | %Live A | 253% |  | 0.3175% | 0.4318% | 0.4766% | 0.4742% | 0.5909% | 0.5374% | 9.629% | 0.6511% | 0.6111% | 0.5375% | 2.457% | 2.524% | %Live, w bg sub
| B | 968 | 997 | 982 | 1036 | 1147 | 1003 | 1065 | 1208 | 1176 | 1190 | 1219 | 1313 | cal/txrd:485,526 | BG-R5A Avg | 1022.1667 | BG-R6A Avg | 1195.1667 |  |  |  |  | %Dead A | 9.363% | %Dead A | 20.05% |  | 2.59% | 5.378% | 17.33% | 2.59% | 4.183% | 0.5976% | 13.68% | 9.695% | 6.906% | 7.703% | 12.08% | 8.898% | %Dead, w bg sub
|  | 30 | 33 | 32 | 31 | 27 | 28 | 28 | 36 | 37 | 33 | 29 | 36 | cal/txrd:584,625 | Phrozen AquaGray 8K | 30.1667 | Asiga DentaGuide | 33.1667 | [8 empty] | H | 1034 | 1007 | 1012 | 1035 | 1237 | 1226 | 1304 | 1453 | 1637 | 1461 | 1939 | 1375 | cal/txrd:485,526
|  | 134 | 163 | 148 | 202 | 313 | 169 | 231 | 374 | 342 | 356 | 385 | 479 | Blank cal/txrd:485,526 |  | 188.1667 |  | 361.1667 | [9 empty] | 34 | 37 | 41 | 34 | 36 | 35 | 35 | 29 | 42 | 25 | 59 | 31 | cal/txrd:584,625
|  | 6 | 9 | 8 | 7 | 3 | 4 | 4 | 12 | 13 | 9 | 5 | 12 | Blank cal/txrd:584,625 |  | 6.1667 |  | 9.1667 |  |  |  |  | W/ Background Sub |  |  |  |  | -76.1667 | -103.1667 | -98.1667 | -75.1667 | 126.8333 | 115.8333 | 187.6667 | 336.6667 | 520.6667 | 344.6667 | 822.6667 | 258.6667 | Cal Background Subtraction
| C | 147685 | 188380 | 143250 | 288942 | 252404 | 181229 | 223882 | 296896 | 239814 | 268478 | 328138 | 283194 | cal/txrd:485,526 | EX-R5E Avg | 200315 | EX-R6E Avg | 273400.3333 | EX-R5E Avg - BG-R5E Avg | 199285.6667 | EX-R6E Avg - BG-R6E Avg | 272233.8333 | Phrozen AquaGray 8K |  | Asiga DentaGuide |  |  | -3 | 0 | 4 | -3 | -1 | -2 | 7.5 | 1.5 | 14.5 | -2.5 | 31.5 | 3.5 | EthD Background Subtraction
|  | 70 | 63 | 73 | 91 | 63 | 65 | 59 | 66 | 84 | 77 | 96 | 61 | cal/txrd:584,625 | Phrozen AquaGray 8K | 70.8333 | Asiga DentaGuide | 73.8333 | Phrozen AquaGray 8K | 40 | Asiga DentaGuide | 45.8333 | %Live E | 159.7% | %Live E | 218% |  | 0.2354% | 0.2138% | 0.2178% | 0.2362% | 0.3977% | 0.3889% | 0.4513% | 0.5704% | 0.7176% | 0.5768% | 0.9591% | 0.5081% | %Live, no bg sub
|  | 146851 | 187546 | 142416 | 288108 | 251570 | 180395 | 223048 | 296062 | 238980 | 267644 | 327304 | 282360 | Blank cal/txrd:485,526 |  | 199481 |  | 272566.3333 | Background Subtraction | 199285.6667 | Background Subtraction | 272233.8333 | %Dead E | 21.85% | %Dead E | 24.17% |  | 7.57% | 8.765% | 10.36% | 7.57% | 8.367% | 7.968% | 7.968% | 5.578% | 10.76% | 3.984% | 17.53% | 6.375% | %Dead, no bg sub
|  | 46 | 39 | 49 | 67 | 39 | 41 | 35 | 42 | 60 | 53 | 72 | 37 | Blank cal/txrd:584,625 |  | 46.8333 |  | 49.8333 |  | 40 |  | 45.8333 | %Live A | 0.4304% | %Live A | 253% |  | 0.2555% | 0.2339% | 0.2379% | 0.2563% | 0.4178% | 0.409% | 0.4665% | 0.5856% | 0.7328% | 0.592% | 0.9743% | 0.5232% | %Live, w bg sub
| D | 1267 | 1026 | 1030 | 1228 | 1158 | 1279 | 327890 | 350795 | 222264 | 359776 | 335053 | 307236 | cal/txrd:485,526 | EX-R5A Avg | 1164.6667 | EX-R6A Avg | 317169 | EX-R5A Avg - BG-R5A Avg | 142.5 | EX-R6A Avg - BG-R6A Avg | 315973.8333 | %Dead A | 9.23% | %Dead A | 18.73% |  | 4.714% | 5.91% | 7.503% | 4.714% | 5.511% | 5.113% | 8.898% | 6.507% | 11.69% | 4.914% | 18.46% | 7.304% | %Dead, w bg sub
|  | 37 | 33 | 40 | 39 | 34 | 48 | 66 | 54 | 66 | 62 | 81 | 63 | cal/txrd:584,625 | Phrozen AquaGray 8K | 38.5 | Asiga DentaGuide | 65.3333 | Phrozen AquaGray 8K | 8.3333 | Asiga DentaGuide | 32.1667
|  | 433 | 192 | 196 | 394 | 324 | 445 | 327056 | 349961 | 221430 | 358942 | 334219 | 306402 | Blank cal/txrd:485,526 |  | 330.6667 |  | 316335 | Background Subtraction | 142.5 | Background Subtraction | 315973.8333 |  |  |  |  | Plate 2
|  | 13 | 9 | 16 | 15 | 10 | 24 | 42 | 30 | 42 | 38 | 57 | 39 | Blank cal/txrd:584,625 |  | 14.5 |  | 41.3333 |  | 8.3333 |  | 32.1667 | W/O Background Sub |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| E | 1: 961; 2: 948; 3: 1001; 4: 1041; 5: 1071; 6: 1051 | cal/txrd:485,526 | BG-R7E Avg | 1012.1667 | [6 empty] | Liqcreate Biomed Clear |  |  |  | A | 1304 | 7368 | 1290 | 1303 | 1273 | 1262 | 1842 | 6202 | 8902 | 1290 | 3750 | 6372 | cal/txrd:485,526
|  | 1: 33; 2: 46; 3: 32; 4: 42; 5: 30; 6: 31 | cal/txrd:584,625 | Liqcreate Biomed Clear | 35.6667 | [6 empty] | %Live E | 141.1% |  |  |  | 38 | 605 | 41 | 31 | 26 | 35 | 48 | 179 | 312 | 23 | 169 | 190 | cal/txrd:584,625
|  | 1: 127; 2: 114; 3: 167; 4: 207; 5: 237; 6: 217 | Blank cal/txrd:485,526 |  | 178.1667 | [6 empty] | %Dead E | 26.23%
|  | 1: 9; 2: 22; 3: 8; 4: 18; 5: 6; 6: 7 | Blank cal/txrd:584,625 |  | 11.6667 | [6 empty] | %Live A | 32.34%
| F | 1: 994; 2: 1034; 3: 993; 4: 1008; 5: 1083; 6: 1085 | cal/txrd:485,526 | BG-R7A Avg | 1032.8333 | [6 empty] | %Dead A | 17.53% |  |  | B | 1296 | 1294 | 1428 | 1250 | 1279 | 1272 | 7116 | 6390 | 7427 | 7335 | 5586 | 6743 | cal/txrd:485,526
|  | 1: 31; 2: 31; 3: 27; 4: 29; 5: 32; 6: 25 | cal/txrd:584,625 | Liqcreate Biomed Clear | 29.1667 | [11 empty] | 29 | 25 | 26 | 24 | 62 | 26 | 293 | 275 | 263 | 250 | 206 | 257 | cal/txrd:584,625
|  | 1: 160; 2: 200; 3: 159; 4: 174; 5: 249; 6: 251 | Blank cal/txrd:485,526 |  | 198.8333
|  | 1: 7; 2: 7; 3: 3; 4: 5; 5: 8; 6: 1 | Blank cal/txrd:584,625 |  | 5.1667 | [6 empty] | W/ Background Sub
| G | 1: 126948; 2: 177018; 3: 151001; 4: 201523; 5: 181190; 6: 225814 | cal/txrd:485,526 | EX-R7E Avg | 177249 |  |  | EX-R7E Avg - BG-R7E Avg | 176236.8333 |  |  | Liqcreate Biomed Clear |  |  |  | C | 3151 | 12340 | 14606 | 26879 | 15225 | 21313 | 85701 | 92258 | 74108 | 92167 | 50637 | 33693 | cal/txrd:485,526
|  | 1: 69; 2: 75; 3: 92; 4: 85; 5: 80; 6: 84 | cal/txrd:584,625 | Liqcreate Biomed Clear | 80.8333 |  |  | Liqcreate Biomed Clear | 45.1667 |  |  | %Live E | 141.2% |  |  |  | 51 | 52 | 49 | 60 | 56 | 48 | 78 | 57 | 55 | 82 | 78 | 58 | cal/txrd:584,625
|  | 1: 126114; 2: 176184; 3: 150167; 4: 200689; 5: 180356; 6: 224980 | Blank cal/txrd:485,526 |  | 176415 |  |  | Background Subtraction | 176236.8333 |  |  | %Dead E | 23.9% |  |  |  | 2121.6667 | 11310.6667 | 13576.6667 | 25849.6667 | 14195.6667 | 20283.6667 | 84534.5 | 91091.5 | 72941.5 | 91000.5 | 49470.5 | 32526.5 | Cal Background Subtraction
|  | 1: 45; 2: 51; 3: 68; 4: 61; 5: 56; 6: 60 | Blank cal/txrd:584,625 |  | 56.8333 |  |  |  | 45.1667 |  |  | %Live A | 32.42% |  |  |  | 20.1667 | 21.1667 | 18.1667 | 29.1667 | 25.1667 | 17.1667 | 50 | 29 | 27 | 54 | 50 | 30 | EthD Background Subtraction
| H | 1: 2183; 2: 3079; 3: 201376; 4: 4591; 5: 32817; 6: 3033 | cal/txrd:485,526 | EX-R7A Avg | 41179.8333 |  |  | EX-R7A Avg - BG-R7A Avg | 40147 |  |  | %Dead A | 17.8% |  |  |  | 1.928% | 9.276% | 11.09% | 20.9% | 11.58% | 16.45% | 67.94% | 73.18% | 58.67% | 73.11% | 39.9% | 26.35% | %Live, no bg sub
|  | 1: 45; 2: 68; 3: 56; 4: 67; 5: 62; 6: 56 | cal/txrd:584,625 | Liqcreate Biomed Clear | 59 |  |  | Liqcreate Biomed Clear | 29.8333 | [7 empty] | 14.34% | 14.74% | 13.55% | 17.93% | 16.33% | 13.15% | 25.1% | 16.73% | 15.94% | 26.69% | 25.1% | 17.13% | %Dead, no bg sub
|  | 1: 1349; 2: 2245; 3: 200542; 4: 3757; 5: 31983; 6: 2199 | Blank cal/txrd:485,526 |  | 40345.8333 |  |  | Background Subtraction | 40147 | [7 empty] | 2.013% | 9.361% | 11.17% | 20.99% | 11.67% | 16.54% | 67.92% | 73.16% | 58.64% | 73.09% | 39.88% | 26.33% | %Live, w bg sub
|  | 1: 21; 2: 44; 3: 32; 4: 43; 5: 38; 6: 32 | Blank cal/txrd:584,625 |  | 35 |  |  |  | 29.8333 | [7 empty] | 13.94% | 14.34% | 13.15% | 17.53% | 15.94% | 12.75% | 25.83% | 17.46% | 16.67% | 27.42% | 25.83% | 17.86% | %Dead, w bg sub
[27 empty] | D | 1305 | 1343 | 1328 | 1338 | 1321 | 1250 | 3510 | 22878 | 46348 | 33237 | 12465 | 7132 | cal/txrd:485,526
| Plate 3 | [26 empty] | 36 | 37 | 39 | 40 | 36 | 44 | 52 | 58 | 58 | 63 | 296 | 105 | cal/txrd:584,625
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | w/ bg sub | F(530)max | 124657.3333 | F(530)min | -395.6667 | F(645)min | -14.8333 | F(645)max | 236.1667 | [5 empty] | 282.8333 | 320.8333 | 305.8333 | 315.8333 | 298.8333 | 227.8333 | 2314.8333 | 21682.8333 | 45152.8333 | 32041.8333 | 11269.8333 | 5936.8333 | Cal Background Subtraction
| A | 32331 | 166056 | 178991 | 753 | 770 | 696 | 1506 | 1532 | 1442 | 702 | 692 | 708 | cal/txrd:485,526 | F(530)max | 125792.6667 | F(530)min | 739.6667 |  | 1493.3333 |  | 700.6667 | [5 empty] | 5.8333 | 6.8333 | 8.8333 | 9.8333 | 5.8333 | 13.8333 | 18.8333 | 24.8333 | 24.8333 | 29.8333 | 262.8333 | 71.8333 | EthD Background Subtraction
|  | 13 | 19 | 22 | 137 | 228 | 132 | 15 | 14 | 16 | 285 | 262 | 251 | cal/txrd:584,625 |  | 18 |  | 165.6667 | F(645)min | 15 | F(645)max | 266 | [5 empty] | 0.4521% | 0.4825% | 0.4705% | 0.4785% | 0.4649% | 0.4081% | 2.215% | 17.7% | 36.47% | 25.99% | 9.376% | 5.112% | %Live, no bg sub
|  | 31497 | 165222 | 178157 | -81 | -64 | -138 | 672 | 698 | 608 | -132 | -142 | -126 | Blank cal/txrd:485,526 | BK Cal Avg | 124958.6667 | BK EthD Avg | -94.3333 | P Cal Avg | 659.3333 | P EthD Avg | -133.3333 | [5 empty] | 8.367% | 8.765% | 9.562% | 9.96% | 8.367% | 11.55% | 14.74% | 17.13% | 17.13% | 19.12% | 112% | 35.86% | %Dead, no bg sub
|  | -11 | -5 | -2 | 113 | 204 | 108 | -9 | -10 | -8 | 261 | 238 | 227 | Blank cal/txrd:584,625 | Live Cell Only | -6 | Live Cell Only | 141.6667 | Dead Cell Only | -9 | Dead Cell Only | 242 | W/O Background Sub |  |  |  |  | 0.5426% | 0.573% | 0.561% | 0.569% | 0.5554% | 0.4986% | 2.167% | 17.66% | 36.42% | 25.94% | 9.328% | 5.064% | %Live, w bg sub
| B | 1107 | 1042 | 1158 | 1147 | 1253 | 1306 | 1074 | 1071 | 1099 | 1171 | 1200 | 1197 | cal/txrd:485,526 | BG-N1E Avg | 1168.8333 | Empty - Dye Only | 1135.3333 |  |  |  |  | PDMS |  |  |  |  | 8.234% | 8.632% | 9.429% | 9.827% | 8.234% | 11.42% | 13.41% | 15.8% | 15.8% | 17.8% | 110.6% | 34.53% | %Dead, w bg sub
|  | 29 | 30 | 36 | 33 | 36 | 25 | 30 | 29 | 33 | 28 | 26 | 33 | cal/txrd:584,625 | PDMS | 31.5 |  | 29.8333 |  |  |  |  | %Live E | 32.42% |  |  | E | 5207 | 5602 | 6216 | 6549 | 5228 | 1286 | [6 empty] | cal/txrd:485,526
|  | 273 | 208 | 324 | 313 | 419 | 472 | 240 | 237 | 265 | 337 | 366 | 363 | Blank cal/txrd:485,526 |  | 334.8333 |  | 301.3333 |  |  |  |  | %Dead E | 29.88% |  |  |  | 68 | 84 | 105 | 80 | 69 | 28 | [6 empty] | cal/txrd:584,625
|  | 5 | 6 | 12 | 9 | 12 | 1 | 6 | 5 | 9 | 4 | 2 | 9 | Blank cal/txrd:584,625 |  | 7.5 |  | 5.8333 |  |  |  |  | %Live A | 373.4%
| C | 1087 | 1155 | 1201 | 1105 | 4260 | 1188 | 803 | 824 | 871 | 801 | 876 | 829 | cal/txrd:485,526 | BG-N1A Avg | 1666 | Empty - Nothing Here | 834 |  |  |  |  | %Dead A | 77.82%
|  | 33 | 36 | 39 | 75 | 34 | 34 | 19 | 21 | 36 | 19 | 30 | 20 | cal/txrd:584,625 | PDMS | 41.8333 |  | 24.1667 | [8 empty] | F | 1398 | 9548 | 11018 | 9768 | 12167 | 10588 | [6 empty] | cal/txrd:485,526
|  | 253 | 321 | 367 | 271 | 3426 | 354 | -31 | -10 | 37 | -33 | 42 | -5 | Blank cal/txrd:485,526 |  | 832 |  | 0 | [9 empty] | 25 | 101 | 183 | 171 | 178 | 151 | [6 empty] | cal/txrd:584,625
|  | 9 | 12 | 15 | 51 | 10 | 10 | -5 | -3 | 12 | -5 | 6 | -4 | Blank cal/txrd:584,625 |  | 17.8333 |  | 0.16667 |  |  |  |  | W/ Background Sub
| D | 1: 184549; 2: 7412; 3: 15505; 4: 9427; 5: 17492; 6: 13289 | cal/txrd:485,526 | EX-N1E Avg | 41279 |  |  | EX-N1E Avg - BG-N1E Avg | 40110.1667 |  |  | PDMS
|  | 1: 148; 2: 72; 3: 76; 4: 81; 5: 66; 6: 97 | cal/txrd:584,625 | PDMS | 90 |  |  | PDMS | 58.5 |  |  | %Live E | 32.39% |  |  | G | 33676 | 63619 | 46839 | 78388 | 35456 | 43118 | [6 empty] | cal/txrd:485,526
|  | 1: 183715; 2: 6578; 3: 14671; 4: 8593; 5: 16658; 6: 12455 | Blank cal/txrd:485,526 |  | 40445 |  |  | Background Subtraction | 40110.1667 |  |  | %Dead E | 29.22% |  |  |  | 73 | 66 | 70 | 69 | 56 | 55 | [6 empty] | cal/txrd:584,625
|  | 1: 124; 2: 48; 3: 52; 4: 57; 5: 42; 6: 73 | Blank cal/txrd:584,625 |  | 66 |  |  |  | 58.5 |  |  | %Live A | 373% |  |  |  | 32663.8333 | 62606.8333 | 45826.8333 | 77375.8333 | 34443.8333 | 42105.8333 | [6 empty] | Cal Background Subtraction
| E | 1: 182458; 2: 258212; 3: 101446; 4: 688348; 5: 300263; 6: 1275446 | cal/txrd:485,526 | EX-N1A Avg | 467695.5 |  |  | EX-N1A Avg - BG-N1A Avg | 466029.5 |  |  | %Dead A | 73.04% |  |  |  | 37.3333 | 30.3333 | 34.3333 | 33.3333 | 20.3333 | 19.3333 | [6 empty] | EthD Background Subtraction
|  | 1: 111; 2: 140; 3: 96; 4: 354; 5: 229; 6: 332 | cal/txrd:584,625 | PDMS | 210.3333 |  |  | PDMS | 168.5 | [7 empty] | 26.34% | 50.28% | 36.86% | 62.09% | 27.76% | 33.89% | [6 empty] | %Live, no bg sub
|  | 1: 181624; 2: 257378; 3: 100612; 4: 687514; 5: 299429; 6: 1274612 | Blank cal/txrd:485,526 |  | 466861.5 |  |  | Background Subtraction | 466029.5 | [7 empty] | 23.11% | 20.32% | 21.91% | 21.51% | 16.33% | 15.94% | [6 empty] | %Dead, no bg sub
|  | 1: 87; 2: 116; 3: 72; 4: 330; 5: 205; 6: 308 | Blank cal/txrd:584,625 |  | 186.3333 |  |  |  | 168.5 | [7 empty] | 26.44% | 50.38% | 36.96% | 62.19% | 27.86% | 33.99% | [6 empty] | %Live, w bg sub
| F | [12 empty] | cal/txrd:485,526 | [13 empty] | 20.78% | 17.99% | 19.59% | 19.19% | 14.01% | 13.61% | [6 empty] | %Dead, w bg sub
[14 empty] | cal/txrd:584,625 | [12 empty] | H | 7211 | 15880 | 43094 | 42779 | 12670 | 6516 | [6 empty] | cal/txrd:485,526
[14 empty] | Blank cal/txrd:485,526 | [13 empty] | 56 | 66 | 55 | 169 | 53 | 40 | [6 empty] | cal/txrd:584,625
[14 empty] | Blank cal/txrd:584,625 | [13 empty] | 6178.1667 | 14847.1667 | 42061.1667 | 41746.1667 | 11637.1667 | 5483.1667 | [6 empty] | Cal Background Subtraction
| G | [12 empty] | cal/txrd:485,526 | [13 empty] | 26.8333 | 66 | 55 | 169 | 53 | 40 | [6 empty] | EthD Background Subtraction
[14 empty] | cal/txrd:584,625 | [13 empty] | 5.175% | 12.11% | 33.87% | 33.62% | 9.54% | 4.619% | [6 empty] | %Live, no bg sub
[14 empty] | Blank cal/txrd:485,526 | [13 empty] | 16.33% | 20.32% | 15.94% | 61.35% | 15.14% | 9.96% | [6 empty] | %Dead, no bg sub
[14 empty] | Blank cal/txrd:584,625 | [13 empty] | 5.257% | 12.19% | 33.95% | 33.7% | 9.622% | 4.701% | [6 empty] | %Live, w bg sub
| H | [12 empty] | cal/txrd:485,526 | [13 empty] | 16.6% | 32.2% | 27.82% | 73.24% | 27.03% | 21.85% | [6 empty] | %Dead, w bg sub
cal/txrd:584,625
[14 empty] | Blank cal/txrd:485,526 | [12 empty] | Plate 3
[14 empty] | Blank cal/txrd:584,625 | [13 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[27 empty] | A | 31047 | 59587 | 62704 | 649 | 641 | 651 | 1631 | 1585 | 1561 | 669 | 698 | 679 | cal/txrd:485,526
[28 empty] | 17 | 16 | 14 | 61 | 74 | 68 | 17 | 19 | 15 | 178 | 162 | 113 | cal/txrd:584,625
[27 empty] | B | 1270 | 1242 | 1288 | 1266 | 1217 | 1207 | 1246 | 1225 | 1251 | 1246 | 1224 | 1243 | cal/txrd:485,526
[28 empty] | 27 | 33 | 44 | 54 | 38 | 31 | 21 | 21 | 23 | 25 | 25 | 28 | cal/txrd:584,625
[27 empty] | C | 1526 | 1404 | 1578 | 1264 | 1566 | 1347 | 799 | 787 | 775 | 814 | 804 | 857 | cal/txrd:485,526
[28 empty] | 125 | 60 | 68 | 70 | 90 | 53 | 18 | 20 | 23 | 17 | 15 | 21 | cal/txrd:584,625
[27 empty] | D | 1: 1392; 2: 1330; 3: 2440; 4: 1411; 5: 1505; 6: 1470 | cal/txrd:485,526
[28 empty] | 1: 85; 2: 39; 3: 56; 4: 52; 5: 55; 6: 52 | cal/txrd:584,625
[28 empty] | 1: 223.1667; 2: 161.1667; 3: 1271.1667; 4: 242.1667; 5: 336.1667; 6: 301.1667 | Cal Background Subtraction
[28 empty] | 1: 53.5; 2: 7.5; 3: 24.5; 4: 20.5; 5: 23.5; 6: 20.5 | EthD Background Subtraction
[28 empty] | 1: 0.5216%; 2: 0.4721%; 3: 1.36%; 4: 0.5368%; 5: 0.612%; 6: 0.584% | %Live, no bg sub
[28 empty] | 1: 27.89%; 2: 9.562%; 3: 16.33%; 4: 14.74%; 5: 15.94%; 6: 14.74% | %Dead, no bg sub
[28 empty] | 1: 0.4949%; 2: 0.4453%; 3: 1.333%; 4: 0.5101%; 5: 0.5852%; 6: 0.5572% | %Live, w bg sub
[28 empty] | 1: 27.22%; 2: 8.898%; 3: 15.67%; 4: 14.08%; 5: 15.27%; 6: 14.08% | %Dead, w bg sub
[27 empty] | E | 1: 748; 2: 799; 3: 767; 4: 788; 5: 788; 6: 749 | cal/txrd:485,526
[28 empty] | 1: 19; 2: 20; 3: 23; 4: 20; 5: 17; 6: 22 | cal/txrd:584,625
[28 empty] | 1: -918; 2: -867; 3: -899; 4: -878; 5: -878; 6: -917 | Cal Background Subtraction
[28 empty] | 1: -22.8333; 2: -21.8333; 3: -18.8333; 4: -21.8333; 5: -24.8333; 6: -19.8333 | EthD Background Subtraction
[28 empty] | 1: 0.006664%; 2: 0.04745%; 3: 0.02186%; 4: 0.03865%; 5: 0.03865%; 6: 0.007464% | %Live, no bg sub
[28 empty] | 1: 1.594%; 2: 1.992%; 3: 3.187%; 4: 1.992%; 5: 0.7968%; 6: 2.789% | %Dead, no bg sub
[28 empty] | 1: -0.4177%; 2: -0.3769%; 3: -0.4025%; 4: -0.3857%; 5: -0.3857%; 6: -0.4169% | %Live, w bg sub
[28 empty] | 1: -3.187%; 2: -2.789%; 3: -1.594%; 4: -2.789%; 5: -3.984%; 6: -1.992% | %Dead, w bg sub
[27 empty] | F | [12 empty] | cal/txrd:485,526
cal/txrd:584,625
Blank cal/txrd:485,526
Blank cal/txrd:584,625
[27 empty] | G | [12 empty] | cal/txrd:485,526
cal/txrd:584,625
Blank cal/txrd:485,526
Blank cal/txrd:584,625
[27 empty] | H | [12 empty] | cal/txrd:485,526
cal/txrd:584,625
Blank cal/txrd:485,526
Blank cal/txrd:584,625

## Sheet3
Row Labels | Average of Calcein Reading (485, 526) | Average of Tx Red Reading (584, 625)
3D Resyn Bioflex A10 IPA Wash | 2490.5833 | 35.75
70% Ethanol | 3631.6667 | 38.5
Autoclave | 1349.5 | 33
3D Resyn Bioflex A10 Proprietary Wash | 1167.1667 | 41.1667
70% Ethanol | 1242.5 | 46.1667
Autoclave | 1091.8333 | 36.1667
Asiga DentaGuide | 295284.6667 | 69.5833
70% Ethanol | 273400.3333 | 73.8333
Autoclave | 317169 | 65.3333
Asiga DentaGum | 2896.5833 | 37.5833
70% Ethanol | 4265 | 38.3333
Autoclave | 1528.1667 | 36.8333
Blank | 834 | 24.1667
N/A | 834 | 24.1667
Dead - Cal Only | 1493.3333 | 15
N/A | 1493.3333 | 15
Dead - EthD Only | 700.6667 | 266
N/A | 700.6667 | 266
Dye Only | 1135.3333 | 29.8333
N/A | 1135.3333 | 29.8333
Formlabs Silicone 40A | 137259.75 | 74
70% Ethanol | 138271.6667 | 73
Autoclave | 136247.8333 | 75
Liqcreate Biomed Clear | 109214.4167 | 69.9167
70% Ethanol | 177249 | 80.8333
Autoclave | 41179.8333 | 59
Live - Cal Only | 125792.6667 | 18
N/A | 125792.6667 | 18
Live - EthD Only | 739.6667 | 165.6667
N/A | 739.6667 | 165.6667
PDMS | 254487.25 | 150.1667
70% Ethanol | 41279 | 90
Autoclave | 467695.5 | 210.3333
Phrozen AquaGray 8K | 100739.8333 | 54.6667
70% Ethanol | 200315 | 70.8333
Autoclave | 1164.6667 | 38.5

## Sheet2
Plate ID | Plate Row ID | Plate Column ID | Excel Row ID for Cal | Excel Column ID | Resin | Sterilization | Calcein Reading (485, 526) | Tx Red Reading (584, 625)
1 | C | 7 | 91 | I | 3D Resyn Bioflex A10 IPA Wash | 70% Ethanol | 1235 | 31
1 | C | 8 | 91 | J | 3D Resyn Bioflex A10 IPA Wash | 70% Ethanol | 14547 | 44
1 | C | 9 | 91 | K | 3D Resyn Bioflex A10 IPA Wash | 70% Ethanol | 1443 | 38
1 | C | 10 | 91 | L | 3D Resyn Bioflex A10 IPA Wash | 70% Ethanol | 1490 | 34
1 | C | 11 | 91 | M | 3D Resyn Bioflex A10 IPA Wash | 70% Ethanol | 1512 | 41
1 | C | 12 | 91 | N | 3D Resyn Bioflex A10 IPA Wash | 70% Ethanol | 1563 | 43
1 | D | 7 | 95 | I | 3D Resyn Bioflex A10 IPA Wash | Autoclave | 1148 | 32
1 | D | 8 | 95 | J | 3D Resyn Bioflex A10 IPA Wash | Autoclave | 1322 | 31
1 | D | 9 | 95 | K | 3D Resyn Bioflex A10 IPA Wash | Autoclave | 1347 | 34
1 | D | 10 | 95 | L | 3D Resyn Bioflex A10 IPA Wash | Autoclave | 1388 | 29
1 | D | 11 | 95 | M | 3D Resyn Bioflex A10 IPA Wash | Autoclave | 1419 | 39
1 | D | 12 | 95 | N | 3D Resyn Bioflex A10 IPA Wash | Autoclave | 1473 | 33
1 | G | 1 | 107 | C | 3D Resyn Bioflex A10 Proprietary Wash | 70% Ethanol | 1050 | 39
1 | G | 2 | 107 | D | 3D Resyn Bioflex A10 Proprietary Wash | 70% Ethanol | 1193 | 46
1 | G | 3 | 107 | E | 3D Resyn Bioflex A10 Proprietary Wash | 70% Ethanol | 1249 | 76
1 | G | 4 | 107 | F | 3D Resyn Bioflex A10 Proprietary Wash | 70% Ethanol | 1246 | 39
1 | G | 5 | 107 | G | 3D Resyn Bioflex A10 Proprietary Wash | 70% Ethanol | 1392 | 43
1 | G | 6 | 107 | H | 3D Resyn Bioflex A10 Proprietary Wash | 70% Ethanol | 1325 | 34
1 | H | 1 | 111 | C | 3D Resyn Bioflex A10 Proprietary Wash | Autoclave | 1034 | 34
1 | H | 2 | 111 | D | 3D Resyn Bioflex A10 Proprietary Wash | Autoclave | 1007 | 37
1 | H | 3 | 111 | E | 3D Resyn Bioflex A10 Proprietary Wash | Autoclave | 1012 | 41
1 | H | 4 | 111 | F | 3D Resyn Bioflex A10 Proprietary Wash | Autoclave | 1035 | 34
1 | H | 5 | 111 | G | 3D Resyn Bioflex A10 Proprietary Wash | Autoclave | 1237 | 36
1 | H | 6 | 111 | H | 3D Resyn Bioflex A10 Proprietary Wash | Autoclave | 1226 | 35
2 | C | 7 | 126 | I | Asiga DentaGuide | 70% Ethanol | 223882 | 59
2 | C | 8 | 126 | J | Asiga DentaGuide | 70% Ethanol | 296896 | 66
2 | C | 9 | 126 | K | Asiga DentaGuide | 70% Ethanol | 239814 | 84
2 | C | 10 | 126 | L | Asiga DentaGuide | 70% Ethanol | 268478 | 77
2 | C | 11 | 126 | M | Asiga DentaGuide | 70% Ethanol | 328138 | 96
2 | C | 12 | 126 | N | Asiga DentaGuide | 70% Ethanol | 283194 | 61
2 | D | 7 | 130 | I | Asiga DentaGuide | Autoclave | 327890 | 66
2 | D | 8 | 130 | J | Asiga DentaGuide | Autoclave | 350795 | 54
2 | D | 9 | 130 | K | Asiga DentaGuide | Autoclave | 222264 | 66
2 | D | 10 | 130 | L | Asiga DentaGuide | Autoclave | 359776 | 62
2 | D | 11 | 130 | M | Asiga DentaGuide | Autoclave | 335053 | 81
2 | D | 12 | 130 | N | Asiga DentaGuide | Autoclave | 307236 | 63
1 | G | 7 | 107 | I | Asiga DentaGum | 70% Ethanol | 12886 | 48
1 | G | 8 | 107 | J | Asiga DentaGum | 70% Ethanol | 1659 | 38
1 | G | 9 | 107 | K | Asiga DentaGum | 70% Ethanol | 1609 | 31
1 | G | 10 | 107 | L | Asiga DentaGum | 70% Ethanol | 1517 | 33
1 | G | 11 | 107 | M | Asiga DentaGum | 70% Ethanol | 3918 | 44
1 | G | 12 | 107 | N | Asiga DentaGum | 70% Ethanol | 4001 | 36
1 | H | 7 | 111 | I | Asiga DentaGum | Autoclave | 1304 | 35
1 | H | 8 | 111 | J | Asiga DentaGum | Autoclave | 1453 | 29
1 | H | 9 | 111 | K | Asiga DentaGum | Autoclave | 1637 | 42
1 | H | 10 | 111 | L | Asiga DentaGum | Autoclave | 1461 | 25
1 | H | 11 | 111 | M | Asiga DentaGum | Autoclave | 1939 | 59
1 | H | 12 | 111 | N | Asiga DentaGum | Autoclave | 1375 | 31
3 | C | 7 | 161 | I | Blank | N/A | 803 | 19
3 | C | 8 | 161 | J | Blank | N/A | 824 | 21
3 | C | 9 | 161 | K | Blank | N/A | 871 | 36
3 | C | 10 | 161 | L | Blank | N/A | 801 | 19
3 | C | 11 | 161 | M | Blank | N/A | 876 | 30
3 | C | 12 | 161 | N | Blank | N/A | 829 | 20
3 | A | 7 | 153 | I | Dead - Cal Only | N/A | 1506 | 15
3 | A | 8 | 153 | J | Dead - Cal Only | N/A | 1532 | 14
3 | A | 9 | 153 | K | Dead - Cal Only | N/A | 1442 | 16
3 | A | 10 | 153 | L | Dead - EthD Only | N/A | 702 | 285
3 | A | 11 | 153 | M | Dead - EthD Only | N/A | 692 | 262
3 | A | 12 | 153 | N | Dead - EthD Only | N/A | 708 | 251
3 | B | 7 | 157 | I | Dye Only | N/A | 1074 | 30
3 | B | 8 | 157 | J | Dye Only | N/A | 1071 | 29
3 | B | 9 | 157 | K | Dye Only | N/A | 1099 | 33
3 | B | 10 | 157 | L | Dye Only | N/A | 1171 | 28
3 | B | 11 | 157 | M | Dye Only | N/A | 1200 | 26
3 | B | 12 | 157 | N | Dye Only | N/A | 1197 | 33
1 | C | 1 | 91 | C | Formlabs Silicone 40A | 70% Ethanol | 120819 | 68
1 | C | 2 | 91 | D | Formlabs Silicone 40A | 70% Ethanol | 136457 | 73
1 | C | 3 | 91 | E | Formlabs Silicone 40A | 70% Ethanol | 133088 | 83
1 | C | 4 | 91 | F | Formlabs Silicone 40A | 70% Ethanol | 134653 | 78
1 | C | 5 | 91 | G | Formlabs Silicone 40A | 70% Ethanol | 134271 | 86
1 | C | 6 | 91 | H | Formlabs Silicone 40A | 70% Ethanol | 170342 | 50
1 | D | 1 | 95 | C | Formlabs Silicone 40A | Autoclave | 139128 | 98
1 | D | 2 | 95 | D | Formlabs Silicone 40A | Autoclave | 136257 | 69
1 | D | 3 | 95 | E | Formlabs Silicone 40A | Autoclave | 135587 | 82
1 | D | 4 | 95 | F | Formlabs Silicone 40A | Autoclave | 127184 | 86
1 | D | 5 | 95 | G | Formlabs Silicone 40A | Autoclave | 132957 | 62
1 | D | 6 | 95 | H | Formlabs Silicone 40A | Autoclave | 146374 | 53
2 | G | 1 | 142 | C | Liqcreate Biomed Clear | 70% Ethanol | 126948 | 69
2 | G | 2 | 142 | D | Liqcreate Biomed Clear | 70% Ethanol | 177018 | 75
2 | G | 3 | 142 | E | Liqcreate Biomed Clear | 70% Ethanol | 151001 | 92
2 | G | 4 | 142 | F | Liqcreate Biomed Clear | 70% Ethanol | 201523 | 85
2 | G | 5 | 142 | G | Liqcreate Biomed Clear | 70% Ethanol | 181190 | 80
2 | G | 6 | 142 | H | Liqcreate Biomed Clear | 70% Ethanol | 225814 | 84
2 | H | 1 | 146 | C | Liqcreate Biomed Clear | Autoclave | 2183 | 45
2 | H | 2 | 146 | D | Liqcreate Biomed Clear | Autoclave | 3079 | 68
2 | H | 3 | 146 | E | Liqcreate Biomed Clear | Autoclave | 201376 | 56
2 | H | 4 | 146 | F | Liqcreate Biomed Clear | Autoclave | 4591 | 67
2 | H | 5 | 146 | G | Liqcreate Biomed Clear | Autoclave | 32817 | 62
2 | H | 6 | 146 | H | Liqcreate Biomed Clear | Autoclave | 3033 | 56
3 | A | 1 | 153 | C | Live - Cal Only | N/A | 32331 | 13
3 | A | 2 | 153 | D | Live - Cal Only | N/A | 166056 | 19
3 | A | 3 | 153 | E | Live - Cal Only | N/A | 178991 | 22
3 | A | 4 | 153 | F | Live - EthD Only | N/A | 753 | 137
3 | A | 5 | 153 | G | Live - EthD Only | N/A | 770 | 228
3 | A | 6 | 153 | H | Live - EthD Only | N/A | 696 | 132
3 | D | 1 | 165 | C | PDMS | 70% Ethanol | 184549 | 148
3 | D | 2 | 165 | D | PDMS | 70% Ethanol | 7412 | 72
3 | D | 3 | 165 | E | PDMS | 70% Ethanol | 15505 | 76
3 | D | 4 | 165 | F | PDMS | 70% Ethanol | 9427 | 81
3 | D | 5 | 165 | G | PDMS | 70% Ethanol | 17492 | 66
3 | D | 6 | 165 | H | PDMS | 70% Ethanol | 13289 | 97
3 | E | 1 | 169 | C | PDMS | Autoclave | 182458 | 111
3 | E | 2 | 169 | D | PDMS | Autoclave | 258212 | 140
3 | E | 3 | 169 | E | PDMS | Autoclave | 101446 | 96
3 | E | 4 | 169 | F | PDMS | Autoclave | 688348 | 354
3 | E | 5 | 169 | G | PDMS | Autoclave | 300263 | 229
3 | E | 6 | 169 | H | PDMS | Autoclave | 1275446 | 332
2 | C | 1 | 126 | C | Phrozen AquaGray 8K | 70% Ethanol | 147685 | 70
2 | C | 2 | 126 | D | Phrozen AquaGray 8K | 70% Ethanol | 188380 | 63
2 | C | 3 | 126 | E | Phrozen AquaGray 8K | 70% Ethanol | 143250 | 73
2 | C | 4 | 126 | F | Phrozen AquaGray 8K | 70% Ethanol | 288942 | 91
2 | C | 5 | 126 | G | Phrozen AquaGray 8K | 70% Ethanol | 252404 | 63
2 | C | 6 | 126 | H | Phrozen AquaGray 8K | 70% Ethanol | 181229 | 65
2 | D | 1 | 130 | C | Phrozen AquaGray 8K | Autoclave | 1267 | 37
2 | D | 2 | 130 | D | Phrozen AquaGray 8K | Autoclave | 1026 | 33
2 | D | 3 | 130 | E | Phrozen AquaGray 8K | Autoclave | 1030 | 40
2 | D | 4 | 130 | F | Phrozen AquaGray 8K | Autoclave | 1228 | 39
2 | D | 5 | 130 | G | Phrozen AquaGray 8K | Autoclave | 1158 | 34
2 | D | 6 | 130 | H | Phrozen AquaGray 8K | Autoclave | 1279 | 48